## Buildings Data (Yearly) (hidden)
|  | Bldg # Basecase Energy ## Usage Intensity |  |  | Improvement in Bldg # Energy ## Usage |  |  | Cost of Improving Bldg # | Month of Performing Improvement in Bldg # | Improvement Project Duration (m)
| Building Name | Electricity | Chilled Water | Heating Hot Water | Electricity | Chilled Water | Heating Hot Water
1 | 378 | 1314525 | 0 | 0 | 600418 | 0 | 0 | 299910 | 0
2 | 379 | 663823 | 0 | 0 | 244015 | 0 | 0 | 205850 | 0
3 | 388 | 1329573 | 0 | 0 | 670353 | 0 | 0 | 420550 | 0
4 | 469 | 590234 | 518 | 178 | 230167 | 0 | 0 | 169060 | 0
5 | 1559 | 2580321 | 1233 | 176 | 1050097 | 0 | 0 | 675890 | 0
6 | 386 | 7626621 | 50473 | 14030 | 255207 | 6722 | 2843 | 398220 | 0
7 | 387 | 2070470 | 19695 | 8768 | 125476 | 5007 | 3018 | 567640 | 0
8 | 391 | 2193433 | 13328 | 3980 | 189429 | 2659 | 1278 | 336420 | 0
9 | 392 | 893313 | 5428 | 1621 | 80242 | 865 | 601 | 297816 | 0
10 | 446 | 1872562 | 9700 | 6046 | 219246 | 1374 | 2427 | 591065 | 0
11 | 463 | 810416 | 5564 | 1956 | 67050 | 665 | 754 | 292150 | 0
12 | 518 | 5028997 | 24161 | 4674 | 170429 | 877 | 812 | 688090 | 0
13 | 1194 | 2478276 | 29928 | 10677 | 228386 | 3381 | 2346 | 471500 | 0
14 | 1501 | 3745173 | 26634 | 13962 | 416730 | 8038 | 5774 | 691750 | 0
15 | 1504 | 4564034 | 35036 | 7744 | 511925 | 3626 | 3499 | 785430 | 0
16 | 1507 | 4840192 | 53138 | 20856 | 150294 | 5899 | 6466 | 1192755 | 0
17 | 1508 | 434985 | 2057 | 196 | 726 | 387 | 53 | 141270 | 0
8225366

## Buildings Data
| Building Name | Bldg # Basecase Energy ## Usage Intensity (per Month) |  |  | Predicted Improved Bldg # Energy ## Usage (per Month) |  |  | Cost of Improving Bldg # ($) | Month of Performing Improvement in Bldg # | Improvement Project Duration (m) | Total Savings per Year | Benefit / Cost | Building Type
|  | Electricity (kwh) | Chilled Water (mbtu) | Heating Hot Water (mbtu) | Electricity (kwh) | Chilled Water (mbtu) | Heating Hot Water (mbtu)
14 | 1501 | 387235.2688 | 2466.0612 | 1080.9632 | 344147.1248 | 1721.817 | 633.9297 | 840996.0116 | 1 |  | 12949.7792 | 0.015398 | Buildings | A
16 | 1507 | 500455.6666 | 4920.0855 | 1614.7091 | 484915.8938 | 4373.8929 | 1114.0997 | 1450093.5278 | 2 |  | 10105.4766 | 0.0069688 | Buildings | B
15 | 1504 | 471902.0811 | 3244.0084 | 599.5544 | 418971.1711 | 2908.2744 | 328.6556 | 954887.6001 | 3 |  | 9159.1737 | 0.0095919 | Garages | C
6 | 386 | 788560.8042 | 4673.3313 | 1086.2279 | 762173.4648 | 4050.9365 | 866.1177 | 484136.5114 | 4 |  | 8447.2727 | 0.017448 | Garages | D
1 | 378 | 135916.4027 | 0 | 0 | 73835.6856 | 0 | 0 | 364615.994 | 5 |  | 4780.2152 | 0.01311 | Buildings | E
3 | 388 | 137472.3032 | 0 | 0 | 68160.5987 | 0 | 0 | 511284.2395 | 5 |  | 5337.0012 | 0.010438 | Buildings | F
8 | 391 | 226791.8244 | 1234.0491 | 308.1388 | 207205.6558 | 987.8504 | 209.1937 | 409003.0766 | 5 |  | 4172.5389 | 0.010202 | Garages | G
5 | 1559 | 266794.4301 | 114.1644 | 13.6262 | 158218.7797 | 114.1644 | 13.6262 | 821714.1948 | 6 |  | 8360.3251 | 0.010174 | Buildings | H
13 | 1194 | 256243.4026 | 2771.055 | 826.6326 | 232629.2427 | 2458.0058 | 645.001 | 573226.7719 | 6 |  | 5801.4805 | 0.010121 | Buildings | I
7 | 387 | 214077.963 | 1823.5742 | 678.8344 | 201104.2679 | 1359.9725 | 445.1754 | 690109.1088 | 6 |  | 6521.0486 | 0.0094493 | Garages | J
4 | 469 | 61027.734 | 47.962 | 13.7811 | 37229.4261 | 47.962 | 13.7811 | 205534.927 | 7 |  | 1832.4697 | 0.0089156 | Buildings | K
2 | 379 | 68636.5297 | 0 | 0 | 43406.3964 | 0 | 0 | 250262.4199 | 7 |  | 1942.7203 | 0.0077627 | Buildings | L
10 | 446 | 193615.1012 | 898.13 | 468.0922 | 170945.9792 | 770.9103 | 280.1895 | 718588.0847 | 7 |  | 4581.0125 | 0.006375 | Garages | M
9 | 392 | 92364.8386 | 502.5824 | 125.5007 | 84068.1505 | 422.4914 | 78.9702 | 362070.2106 | 8 |  | 1658.5674 | 0.0045808 | Buildings | N
11 | 463 | 83793.6345 | 515.1748 | 151.437 | 76860.9442 | 453.6019 | 93.061 | 355181.7633 | 9 |  | 1558.8376 | 0.0043888 | Buildings | O
12 | 518 | 519977.3161 | 2237.0843 | 361.8695 | 502355.6683 | 2155.8823 | 299.003 | 836546.3616 | 10 |  | 2558.0748 | 0.0030579 | Buildings | P
17 | 1508 | 44975.6349 | 190.4591 | 15.1747 | 44900.5695 | 154.6265 | 11.0713 | 171749.1963 | 11 |  | 283.7442 | 0.0016521 | Buildings | Q
|  | 0.80596 | 0.90002 | 1.0764
Contract month
| 14 | 43088.144 | 744.2442 | 447.0335 | 3317.7871 | 4864.38 | 4767.6122 | 12949.7792 | 9 | 1
| 16 | 15539.7728 | 546.1926 | 500.6094 | 1196.5625 | 3569.9151 | 5338.999 | 10105.4766 | 9 | 2
| 15 | 52930.91 | 335.7339 | 270.8989 | 4075.6801 | 2194.357 | 2889.1366 | 9159.1737 | 9 | 3
| 6 | 26387.3394 | 622.3948 | 220.1102 | 2031.8251 | 4067.9724 | 2347.4751 | 8447.2727 | 9 | 4
| 1 | 62080.7171 | 0 | 0 | 4780.2152 | 0 | 0 | 4780.2152 | 9 | 5 | 3 buildings each month in Summer
| 3 | 69311.7045 | 0 | 0 | 5337.0012 | 0 | 0 | 5337.0012 | 8 | 5
| 8 | 19586.1686 | 246.1987 | 98.9451 | 1508.135 | 1609.1548 | 1055.2491 | 4172.5389 | 5 | 5
| 5 | 108575.6503 | 0 | 0 | 8360.3251 | 0 | 0 | 8360.3251 | 9 | 6
| 13 | 23614.1599 | 313.0492 | 181.6315 | 1818.2903 | 2046.0897 | 1937.1005 | 5801.4805 | 9 | 6
| 7 | 12973.6951 | 463.6017 | 233.659 | 998.9745 | 3030.1009 | 2491.9732 | 6521.0486 | 10 | 6
| 4 | 23798.3079 | 0 | 0 | 1832.4697 | 0 | 0 | 1832.4697 | 7 | 7
| 2 | 25230.1333 | 0 | 0 | 1942.7203 | 0 | 0 | 1942.7203 | 7 | 7
| 10 | 22669.122 | 127.2196 | 187.9027 | 1745.5224 | 831.5076 | 2003.9825 | 4581.0125 | 8 | 7
| 9 | 8296.6881 | 80.091 | 46.5305 | 638.845 | 523.4746 | 496.2478 | 1658.5674 | 9 | 8
| 11 | 6932.6904 | 61.5728 | 58.376 | 533.8172 | 402.44 | 622.5805 | 1558.8376 | 8 | 9
| 12 | 17621.6478 | 81.2021 | 62.8665 | 1356.8669 | 530.7367 | 670.4713 | 2558.0748 | 10 | 10
| 17 | 75.0654 | 35.8326 | 4.1034 | 5.78 | 234.2019 | 43.7623 | 283.7442 | 7 | 11
|  | 497700.4506 | 284041.5449 | 295449.9326
|  | 6464543 | 43888 | 27752

## Buildings Data (Predicted)
|  | Bldg # Basecase Energy ## Usage Intensity (per Month) |  |  | Predicted Improved Bldg # Energy ## Usage (per Month) |  |  | Cost of Improving Bldg # ($) | Month of Performing Improvement in Bldg # | Improvement Project Duration (m)
| Building Name | Electricity (kwh) | Chilled Water (mbtu) | Heating Hot Water (mbtu) | Electricity (kwh) | Chilled Water (mbtu) | Heating Hot Water (mbtu)
1 | 378 | 109543.75 | 0 | 0 | 59508.9167 | 0 | 0 | 364615.994 | 9
2 | 379 | 55318.5833 | 0 | 0 | 34984 | 0 | 0 | 250262.4199 | 9
3 | 388 | 110797.75 | 0 | 0 | 54935 | 0 | 0 | 511284.2395 | 9
4 | 469 | 49186.1667 | 43.1667 | 14.8333 | 30005.5833 | 43.1667 | 14.8333 | 205534.927 | 9
5 | 1559 | 215026.75 | 102.75 | 14.6667 | 127518.6667 | 102.75 | 14.6667 | 821714.1948 | 9
6 | 386 | 635551.75 | 4206.0833 | 1169.1667 | 614284.5 | 3645.9167 | 932.25 | 484136.5114 | 8
7 | 387 | 172539.1667 | 1641.25 | 730.6667 | 162082.8333 | 1224 | 479.1667 | 690109.1088 | 5
8 | 391 | 182786.0833 | 1110.6667 | 331.6667 | 167000.3333 | 889.0833 | 225.1667 | 409003.0766 | 9
9 | 392 | 74442.75 | 452.3333 | 135.0833 | 67755.9167 | 380.25 | 85 | 362070.2106 | 9
10 | 446 | 156046.8333 | 808.3333 | 503.8333 | 137776.3333 | 693.8333 | 301.5833 | 718588.0847 | 10
11 | 463 | 67534.6667 | 463.6667 | 163 | 61947.1667 | 408.25 | 100.1667 | 355181.7633 | 7
12 | 518 | 419083.0833 | 2013.4167 | 389.5 | 404880.6667 | 1940.3333 | 321.8333 | 836546.3616 | 7
13 | 1194 | 206523 | 2494 | 889.75 | 187490.8333 | 2212.25 | 694.25 | 573226.7719 | 8
14 | 1501 | 312097.75 | 2219.5 | 1163.5 | 277370.25 | 1549.6667 | 682.3333 | 840996.0116 | 9
15 | 1504 | 380336.1667 | 2919.6667 | 645.3333 | 337675.75 | 2617.5 | 353.75 | 954887.6001 | 8
16 | 1507 | 403349.3333 | 4428.1667 | 1738 | 390824.8333 | 3936.5833 | 1199.1667 | 1450093.5278 | 10
17 | 1508 | 36248.75 | 171.4167 | 16.3333 | 36188.25 | 139.1667 | 11.9167 | 171749.1963 | 7
|  | 3852.6822 | 0 | 0 |  | 993602.7501 | 82800.2292
|  | 1568.5691 | 0 | 0
|  | 4316.8498 | 0 | 0
|  | 1484.8456 | 0 | 0
|  | 6786.4266 | 0 | 0
|  | 1652.2526 | 3694.0578 | 2549.3581
|  | 813.7955 | 2756.4715 | 2711.0902
|  | 1230.7517 | 1466.4378 | 1150.0718
|  | 522.2684 | 477.8916 | 541.797
|  | 1429.5203 | 760.4431 | 2191.7881
|  | 437.9482 | 368.6947 | 682.1273
|  | 1115.1452 | 487.0896 | 735.892
|  | 1496.9939 | 1881.1224 | 2129.8485
|  | 2736.3183 | 4480.0325 | 5251.2025
|  | 3367.2716 | 2024.5146 | 3187.7619
|  | 990.3121 | 3299.3634 | 5901.1447
|  | 4.7921 | 216.8303 | 48.4545
|  | 5268583.3472 | 40231.8531 | 30470.3648
|  | 0.815 | 0.91669 | 1.098

## Buildings Data (Garanteed)
|  | Bldg # Basecase Energy ## Usage Intensity (per Month) |  |  | Predicted Improved Bldg # Energy ## Usage (per Month) |  |  | Cost of Improving Bldg # ($) | Month of Performing Improvement in Bldg # | Improvement Project Duration (m)
| Building Name | Electricity (kwh) | Chilled Water (mbtu) | Heating Hot Water (mbtu) | Electricity (kwh) | Chilled Water (mbtu) | Heating Hot Water (mbtu)
1 | 378 | 135916.4027 | 0 | 0 | 73835.6856 | 0 | 0 | 364615.994 | 9
2 | 379 | 68636.5297 | 0 | 0 | 43406.3964 | 0 | 0 | 250262.4199 | 9
3 | 388 | 137472.3032 | 0 | 0 | 68160.5987 | 0 | 0 | 511284.2395 | 9
4 | 469 | 61027.734 | 47.962 | 13.7811 | 37229.4261 | 47.962 | 13.7811 | 205534.927 | 9
5 | 1559 | 266794.4301 | 114.1644 | 13.6262 | 158218.7797 | 114.1644 | 13.6262 | 821714.1948 | 9
6 | 386 | 788560.8042 | 4673.3313 | 1086.2279 | 762173.4648 | 4050.9365 | 866.1177 | 484136.5114 | 8
7 | 387 | 214077.963 | 1823.5742 | 678.8344 | 201104.2679 | 1359.9725 | 445.1754 | 690109.1088 | 5
8 | 391 | 226791.8244 | 1234.0491 | 308.1388 | 207205.6558 | 987.8504 | 209.1937 | 409003.0766 | 9
9 | 392 | 92364.8386 | 502.5824 | 125.5007 | 84068.1505 | 422.4914 | 78.9702 | 362070.2106 | 9
10 | 446 | 193615.1012 | 898.13 | 468.0922 | 170945.9792 | 770.9103 | 280.1895 | 718588.0847 | 10
11 | 463 | 83793.6345 | 515.1748 | 151.437 | 76860.9442 | 453.6019 | 93.061 | 355181.7633 | 7
12 | 518 | 519977.3161 | 2237.0843 | 361.8695 | 502355.6683 | 2155.8823 | 299.003 | 836546.3616 | 7
13 | 1194 | 256243.4026 | 2771.055 | 826.6326 | 232629.2427 | 2458.0058 | 645.001 | 573226.7719 | 8
14 | 1501 | 387235.2688 | 2466.0612 | 1080.9632 | 344147.1248 | 1721.817 | 633.9297 | 840996.0116 | 9
15 | 1504 | 471902.0811 | 3244.0084 | 599.5544 | 418971.1711 | 2908.2744 | 328.6556 | 954887.6001 | 8
16 | 1507 | 500455.6666 | 4920.0855 | 1614.7091 | 484915.8938 | 4373.8929 | 1114.0997 | 1450093.5278 | 10
17 | 1508 | 44975.6349 | 190.4591 | 15.1747 | 44900.5695 | 154.6265 | 11.0713 | 171749.1963 | 7
|  | 0.80596 | 0.90002 | 1.0764
|  | 62080.7171 | 0 | 0
|  | 25230.1333 | 0 | 0
|  | 69311.7045 | 0 | 0
|  | 23798.3079 | 0 | 0
|  | 108575.6503 | 0 | 0
|  | 26387.3394 | 622.3948 | 220.1102
|  | 12973.6951 | 463.6017 | 233.659
|  | 19586.1686 | 246.1987 | 98.9451
|  | 8296.6881 | 80.091 | 46.5305
|  | 22669.122 | 127.2196 | 187.9027
|  | 6932.6904 | 61.5728 | 58.376
|  | 17621.6478 | 81.2021 | 62.8665
|  | 23614.1599 | 313.0492 | 181.6315
|  | 43088.144 | 744.2442 | 447.0335
|  | 52930.91 | 335.7339 | 270.8989
|  | 15539.7728 | 546.1926 | 500.6094
|  | 75.0654 | 35.8326 | 4.1034
|  | 497700.4506 | 284041.5449 | 295449.9326
|  | 6464543 | 43888 | 27752

## External Funds
Funding Source Name | Funding Amount | Month | Payback ratio | Loan Payback | Payback Month | Amount | M&V Cost | Payback Month | Amount
A | 5000000 | 0 | 0.1115 | 2011-01-01 | 0 | 0 | 2011-01-01 | 0 | 0
B | 0 | 0 |  | 2111-02-02 | 1 | 0 | 2111-02-02 | 1 | 0
|  |  |  | 2111-12-03 | 11 | 0 | 2111-12-03 | 11 | 0
|  |  |  | 2112-01-03 | 12 | 0 | 2112-01-03 | 12 | 0
|  |  |  | 2112-02-03 | 13 | 0 | 2112-02-03 | 13 | 0
|  |  |  | 2112-12-02 | 23 | 0 | 2112-12-02 | 23 | 0
|  |  |  | 2113-01-02 | 24 | 557495.36 | 2113-01-02 | 24 | 20000
|  |  |  | 2113-02-02 | 25 | 0 | 2113-02-02 | 25 | 0
|  |  |  | 2113-12-02 | 35 | 0 | 2113-12-02 | 35 | 0
|  |  |  | 2114-01-02 | 36 | 557495.36 | 2114-01-02 | 36 | 20000
|  |  |  | 2114-02-02 | 37 | 0 | 2114-02-02 | 37 | 0
|  |  |  | 2114-12-02 | 47 | 0 | 2114-12-02 | 47 | 0
|  |  |  | 2115-01-02 | 48 | 557495.36 | 2115-01-02 | 48 | 20000
|  |  |  | 2115-02-02 | 49 | 0 | 2115-02-02 | 49 | 0
|  |  |  | 2115-12-03 | 59 | 0 | 2115-12-03 | 59 | 0
|  |  |  | 2116-01-03 | 60 | 557495.36 | 2116-01-03 | 60 | 20000
|  |  |  | 2116-02-03 | 61 | 0 | 2116-02-03 | 61 | 0
|  |  |  | 2116-12-02 | 71 | 0 | 2116-12-02 | 71 | 0
|  |  |  | 2117-01-02 | 72 | 557495.36 | 2117-01-02 | 72 | 20000
|  |  |  | 2117-02-02 | 73 | 0 | 2117-02-02 | 73 | 0
|  |  |  | 2117-12-02 | 83 | 0 | 2117-12-02 | 83 | 0
|  |  |  | 2118-01-02 | 84 | 557495.36 | 2118-01-02 | 84 | 20000
|  |  |  | 2118-02-02 | 85 | 0 | 2118-02-02 | 85 | 0
|  |  |  | 2118-12-02 | 95 | 0 | 2118-12-02 | 95 | 0
|  |  |  | 2119-01-02 | 96 | 557495.36 | 2119-01-02 | 96 | 20000
|  |  |  | 2119-02-02 | 97 | 0 | 2119-02-02 | 97 | 0
|  |  |  | 2119-12-03 | 107 | 0 | 2119-12-03 | 107 | 0
|  |  |  | 2120-01-03 | 108 | 557495.36 | 2120-01-03 | 108 | 20000
|  |  |  | 2120-02-03 | 109 | 0 | 2120-02-03 | 109 | 0
|  |  |  | 2120-12-02 | 119 | 0 | 2120-12-02 | 119 | 0
|  |  |  | 2121-01-02 | 120 | 557495.36 | 2121-01-02 | 120 | 20000
|  |  |  | 2121-02-02 | 121 | 0 | 2121-02-02 | 121 | 0
|  |  |  | 2121-12-02 | 131 | 0 | 2121-12-02 | 131 | 0
|  |  |  | 2122-01-02 | 132 | 557495.36 | 2122-01-02 | 132 | 20000
|  |  |  | 2122-02-02 | 133 | 0 | 2122-02-02 | 133 | 0
|  |  |  | 2127-09-03 | 200 | 0 | 2127-09-03 | 200 | 0
Formulas:
Loan Payback = G3+DATE(0,[Payback Month]+1,0)
M&V Cost = K3+DATE(0,[Payback Month]+1,0)

## Extra Variables
Owner vs. Sust. Savings ratio | 0 | Month | Historical Cost Index | 0.00002*E3^2 + 0.0093*E3 + 2.1716 |  |  | Cost of Energy |  |  | building no | Prerequisites Order | [16 empty] | month
Interest Rate | 0.02 | 0 | 2.174 | 2.1716 |  | Month | Electricity | Chilled Water | Heating Hot Water | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Operational (O&M) Savings Ratio | 0.0421 | 12 | 2.28 | 2.2861 | 2011-01-01 | 0 | 0.077 | 6.536 | 10.665 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
Base case Saving at Month 200 | 9737849 | 24 | 2.407 | 2.4063 |  | 1 | 0.077138 | 6.5477 | 10.6841 | 3 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
Interest rate for Negative SF | 0 | 36 | 2.545 | 2.5323 |  | 2 | 0.077276 | 6.5594 | 10.7032 | 4 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
|  | 48 | 2.651 | 2.6641 |  | 3 | 0.077414 | 6.5711 | 10.7223 | 5 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
|  | 60 | 2.789 | 2.8016 |  | 4 | 0.077552 | 6.5829 | 10.7415 | 6 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
|  | 72 | 2.916 | 2.9449 |  | 5 | 0.07769 | 6.5946 | 10.7606 | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
|  | 84 | 3.075 | 3.0939 |  | 6 | 0.077828 | 6.6063 | 10.7797 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6
|  | 96 | 3.234 | 3.2487 |  | 7 | 0.077966 | 6.618 | 10.7988 | 9 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6
|  | 108 | 3.393 | 3.4093 |  | 8 | 0.078104 | 6.6297 | 10.8179 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6
|  | 120 | 3.531 | 3.5756 |  | 9 | 0.078242 | 6.6414 | 10.837 | 11 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7
|  | 132 | 3.712 | 3.7477 |  | 10 | 0.07838 | 6.6531 | 10.8561 | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 7
|  | 50.7249 | 50.7249 | #DIV/0! |  | 11 | 0.078518 | 6.6649 | 10.8753 | 13 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 7
|  | 156 | 4.03 | 4.1091 |  | 12 | 0.078656 | 6.6766 | 10.8944 | 14 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 8
|  | 168 | 4.242 | 4.2985 |  | 13 | 0.078794 | 6.6883 | 10.9135 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 9
|  | 180 | 4.401 | 4.4936 |  | 14 | 0.078932 | 6.7 | 10.9326 | 16 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 10
|  | 192 | 4.613 | 4.6945 |  | 15 | 0.07907 | 6.7117 | 10.9517 | 17 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 11
|  | 204 | 4.772 | 4.9011 |  | 16 | 0.079208 | 6.7234 | 10.9708
|  | 216 | 4.984 | 5.1135 |  | 17 | 0.079346 | 6.7351 | 10.9899
|  | 228 | 5.196 | 5.3317 |  | 18 | 0.079484 | 6.7468 | 11.009 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 240 | 5.408 | 5.5556 |  | 19 | 0.079622 | 6.7586 | 11.0282 |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 20 | 0.07976 | 6.7703 | 11.0473 |  | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 21 | 0.079898 | 6.782 | 11.0664 |  | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 22 | 0.080036 | 6.7937 | 11.0855 |  | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 23 | 0.080174 | 6.8054 | 11.1046 |  | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 24 | 0.080312 | 6.8171 | 11.1237 |  | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 25 | 0.08045 | 6.8288 | 11.1428 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 26 | 0.080588 | 6.8406 | 11.162 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 27 | 0.080726 | 6.8523 | 11.1811 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 28 | 0.080864 | 6.864 | 11.2002 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 29 | 0.081002 | 6.8757 | 11.2193 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 30 | 0.08114 | 6.8874 | 11.2384 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
[6 empty] | 31 | 0.081278 | 6.8991 | 11.2575 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
[6 empty] | 32 | 0.081416 | 6.9108 | 11.2766 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
[6 empty] | 33 | 0.081554 | 6.9226 | 11.2958 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
[6 empty] | 34 | 0.081692 | 6.9343 | 11.3149 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
[6 empty] | 35 | 0.08183 | 6.946 | 11.334
[6 empty] | 36 | 0.081968 | 6.9577 | 11.3531
[6 empty] | 37 | 0.082106 | 6.9694 | 11.3722 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 38 | 0.082244 | 6.9811 | 11.3913 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 39 | 0.082382 | 6.9928 | 11.4104 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 40 | 0.08252 | 7.0046 | 11.4296 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 41 | 0.082658 | 7.0163 | 11.4487 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 42 | 0.082796 | 7.028 | 11.4678 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 43 | 0.082934 | 7.0397 | 11.4869 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 44 | 0.083072 | 7.0514 | 11.506 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 45 | 0.08321 | 7.0631 | 11.5251 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 46 | 0.083348 | 7.0748 | 11.5442 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 47 | 0.083486 | 7.0865 | 11.5633 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 48 | 0.083624 | 7.0983 | 11.5825 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 49 | 0.083762 | 7.11 | 11.6016 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 50 | 0.0839 | 7.1217 | 11.6207 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 51 | 0.084038 | 7.1334 | 11.6398 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 52 | 0.084176 | 7.1451 | 11.6589 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 53 | 0.084314 | 7.1568 | 11.678 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 54 | 0.084452 | 7.1685 | 11.6971
[6 empty] | 55 | 0.08459 | 7.1803 | 11.7163 |  | Ours
[6 empty] | 56 | 0.084728 | 7.192 | 11.7354 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 57 | 0.084866 | 7.2037 | 11.7545 |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 58 | 0.085004 | 7.2154 | 11.7736 |  | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 59 | 0.085142 | 7.2271 | 11.7927 |  | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 60 | 0.08528 | 7.2388 | 11.8118 |  | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 61 | 0.085418 | 7.2505 | 11.8309 |  | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 62 | 0.085556 | 7.2623 | 11.8501 |  | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 63 | 0.085694 | 7.274 | 11.8692 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 64 | 0.085832 | 7.2857 | 11.8883 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 65 | 0.08597 | 7.2974 | 11.9074 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 66 | 0.086108 | 7.3091 | 11.9265 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 67 | 0.086246 | 7.3208 | 11.9456 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 68 | 0.086384 | 7.3325 | 11.9647 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 69 | 0.086522 | 7.3443 | 11.9839 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
[6 empty] | 70 | 0.08666 | 7.356 | 12.003 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
[6 empty] | 71 | 0.086798 | 7.3677 | 12.0221 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
[6 empty] | 72 | 0.086936 | 7.3794 | 12.0412 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
[6 empty] | 73 | 0.087074 | 7.3911 | 12.0603
[6 empty] | 74 | 0.087212 | 7.4028 | 12.0794
[6 empty] | 75 | 0.08735 | 7.4145 | 12.0985
[6 empty] | 76 | 0.087488 | 7.4262 | 12.1176
[6 empty] | 77 | 0.087626 | 7.438 | 12.1368
[6 empty] | 78 | 0.087764 | 7.4497 | 12.1559
[6 empty] | 79 | 0.087902 | 7.4614 | 12.175
[6 empty] | 80 | 0.08804 | 7.4731 | 12.1941
[6 empty] | 81 | 0.088178 | 7.4848 | 12.2132
[6 empty] | 82 | 0.088316 | 7.4965 | 12.2323
[6 empty] | 83 | 0.088454 | 7.5082 | 12.2514
[6 empty] | 84 | 0.088592 | 7.52 | 12.2706
[6 empty] | 85 | 0.08873 | 7.5317 | 12.2897
[6 empty] | 86 | 0.088868 | 7.5434 | 12.3088
[6 empty] | 87 | 0.089006 | 7.5551 | 12.3279
[6 empty] | 88 | 0.089144 | 7.5668 | 12.347
[6 empty] | 89 | 0.089282 | 7.5785 | 12.3661
[6 empty] | 90 | 0.08942 | 7.5902 | 12.3852
[6 empty] | 91 | 0.089558 | 7.602 | 12.4044
[6 empty] | 92 | 0.089696 | 7.6137 | 12.4235
[6 empty] | 93 | 0.089834 | 7.6254 | 12.4426
[6 empty] | 94 | 0.089972 | 7.6371 | 12.4617
[6 empty] | 95 | 0.09011 | 7.6488 | 12.4808
[6 empty] | 96 | 0.090248 | 7.6605 | 12.4999
[6 empty] | 97 | 0.090386 | 7.6722 | 12.519
[6 empty] | 98 | 0.090524 | 7.684 | 12.5382
[6 empty] | 99 | 0.090662 | 7.6957 | 12.5573
[6 empty] | 100 | 0.0908 | 7.7074 | 12.5764
[6 empty] | 101 | 0.090938 | 7.7191 | 12.5955
[6 empty] | 102 | 0.091076 | 7.7308 | 12.6146
[6 empty] | 103 | 0.091214 | 7.7425 | 12.6337
[6 empty] | 104 | 0.091352 | 7.7542 | 12.6528
[6 empty] | 105 | 0.09149 | 7.7659 | 12.6719
[6 empty] | 106 | 0.091628 | 7.7777 | 12.6911
[6 empty] | 107 | 0.091766 | 7.7894 | 12.7102
[6 empty] | 108 | 0.091904 | 7.8011 | 12.7293
[6 empty] | 109 | 0.092042 | 7.8128 | 12.7484
[6 empty] | 110 | 0.09218 | 7.8245 | 12.7675
[6 empty] | 111 | 0.092318 | 7.8362 | 12.7866
[6 empty] | 112 | 0.092456 | 7.8479 | 12.8057
[6 empty] | 113 | 0.092594 | 7.8597 | 12.8249
[6 empty] | 114 | 0.092732 | 7.8714 | 12.844
[6 empty] | 115 | 0.09287 | 7.8831 | 12.8631
[6 empty] | 116 | 0.093008 | 7.8948 | 12.8822
[6 empty] | 117 | 0.093146 | 7.9065 | 12.9013
[6 empty] | 118 | 0.093284 | 7.9182 | 12.9204
[6 empty] | 119 | 0.093422 | 7.9299 | 12.9395
[6 empty] | 120 | 0.09356 | 7.9417 | 12.9587
[6 empty] | 121 | 0.093698 | 7.9534 | 12.9778
[6 empty] | 122 | 0.093836 | 7.9651 | 12.9969
[6 empty] | 123 | 0.093974 | 7.9768 | 13.016
[6 empty] | 124 | 0.094112 | 7.9885 | 13.0351
[6 empty] | 125 | 0.09425 | 8.0002 | 13.0542
[6 empty] | 126 | 0.094388 | 8.0119 | 13.0733
[6 empty] | 127 | 0.094526 | 8.0237 | 13.0925
[6 empty] | 128 | 0.094664 | 8.0354 | 13.1116
[6 empty] | 129 | 0.094802 | 8.0471 | 13.1307
[6 empty] | 130 | 0.09494 | 8.0588 | 13.1498
[6 empty] | 131 | 0.095078 | 8.0705 | 13.1689
[6 empty] | 132 | 0.095216 | 8.0822 | 13.188
[6 empty] | 133 | 0.095354 | 8.0939 | 13.2071
[6 empty] | 134 | 0.095492 | 8.1057 | 13.2262
[6 empty] | 135 | 0.09563 | 8.1174 | 13.2454
[6 empty] | 136 | 0.095768 | 8.1291 | 13.2645
[6 empty] | 137 | 0.095906 | 8.1408 | 13.2836
[6 empty] | 138 | 0.096044 | 8.1525 | 13.3027
[6 empty] | 139 | 0.096182 | 8.1642 | 13.3218
[6 empty] | 140 | 0.09632 | 8.1759 | 13.3409
[6 empty] | 141 | 0.096458 | 8.1876 | 13.36
[6 empty] | 142 | 0.096596 | 8.1994 | 13.3792
[6 empty] | 143 | 0.096734 | 8.2111 | 13.3983
[6 empty] | 144 | 0.096872 | 8.2228 | 13.4174
[6 empty] | 145 | 0.09701 | 8.2345 | 13.4365
[6 empty] | 146 | 0.097148 | 8.2462 | 13.4556
[6 empty] | 147 | 0.097286 | 8.2579 | 13.4747
[6 empty] | 148 | 0.097424 | 8.2696 | 13.4938
[6 empty] | 149 | 0.097562 | 8.2814 | 13.513
[6 empty] | 150 | 0.0977 | 8.2931 | 13.5321
[6 empty] | 151 | 0.097838 | 8.3048 | 13.5512
[6 empty] | 152 | 0.097976 | 8.3165 | 13.5703
[6 empty] | 153 | 0.098114 | 8.3282 | 13.5894
[6 empty] | 154 | 0.098252 | 8.3399 | 13.6085
[6 empty] | 155 | 0.09839 | 8.3516 | 13.6276
[6 empty] | 156 | 0.098528 | 8.3634 | 13.6468
[6 empty] | 157 | 0.098666 | 8.3751 | 13.6659
[6 empty] | 158 | 0.098804 | 8.3868 | 13.685
[6 empty] | 159 | 0.098942 | 8.3985 | 13.7041
[6 empty] | 160 | 0.09908 | 8.4102 | 13.7232
[6 empty] | 161 | 0.099218 | 8.4219 | 13.7423
[6 empty] | 162 | 0.099356 | 8.4336 | 13.7614
[6 empty] | 163 | 0.099494 | 8.4454 | 13.7805
[6 empty] | 164 | 0.099632 | 8.4571 | 13.7997
[6 empty] | 165 | 0.09977 | 8.4688 | 13.8188
[6 empty] | 166 | 0.099908 | 8.4805 | 13.8379
[6 empty] | 167 | 0.10005 | 8.4922 | 13.857
[6 empty] | 168 | 0.10018 | 8.5039 | 13.8761
[6 empty] | 169 | 0.10032 | 8.5156 | 13.8952
[6 empty] | 170 | 0.10046 | 8.5273 | 13.9143
[6 empty] | 171 | 0.1006 | 8.5391 | 13.9335
[6 empty] | 172 | 0.10074 | 8.5508 | 13.9526
[6 empty] | 173 | 0.10087 | 8.5625 | 13.9717
[6 empty] | 174 | 0.10101 | 8.5742 | 13.9908
[6 empty] | 175 | 0.10115 | 8.5859 | 14.0099
[6 empty] | 176 | 0.10129 | 8.5976 | 14.029
[6 empty] | 177 | 0.10143 | 8.6093 | 14.0481
[6 empty] | 178 | 0.10156 | 8.6211 | 14.0673
[6 empty] | 179 | 0.1017 | 8.6328 | 14.0864
[6 empty] | 180 | 0.10184 | 8.6445 | 14.1055
[6 empty] | 181 | 0.10198 | 8.6562 | 14.1246
[6 empty] | 182 | 0.10212 | 8.6679 | 14.1437
[6 empty] | 183 | 0.10225 | 8.6796 | 14.1628
[6 empty] | 184 | 0.10239 | 8.6913 | 14.1819
[6 empty] | 185 | 0.10253 | 8.7031 | 14.2011
[6 empty] | 186 | 0.10267 | 8.7148 | 14.2202
[6 empty] | 187 | 0.10281 | 8.7265 | 14.2393
[6 empty] | 188 | 0.10294 | 8.7382 | 14.2584
[6 empty] | 189 | 0.10308 | 8.7499 | 14.2775
[6 empty] | 190 | 0.10322 | 8.7616 | 14.2966
[6 empty] | 191 | 0.10336 | 8.7733 | 14.3157
[6 empty] | 192 | 0.1035 | 8.7851 | 14.3348
[6 empty] | 193 | 0.10363 | 8.7968 | 14.354
[6 empty] | 194 | 0.10377 | 8.8085 | 14.3731
[6 empty] | 195 | 0.10391 | 8.8202 | 14.3922
[6 empty] | 196 | 0.10405 | 8.8319 | 14.4113
[6 empty] | 197 | 0.10419 | 8.8436 | 14.4304
[6 empty] | 198 | 0.10432 | 8.8553 | 14.4495
[6 empty] | 199 | 0.10446 | 8.867 | 14.4686
[6 empty] | 200 | 0.1046 | 8.8788 | 14.4878